Tier 2 - Equipment Checklist

Use this checklist to make sure that you have all the equipment you need based on what data you are collecting.  Your Sample Analysis Plan and project coordinator will help ensure you have access to the proper equipment.

General:

- Safety Equipment

- Waders/boots

- Pen/pencil

- Notebook / Data sheets

- Decontamination solution spray for multiple sites

Multiprobe calibration and reading:

- Multiprobe (Hydrolab, Smartroll, Hannah, Oakton, etc)

- Tablet for Smartroll

- Deionized water

- Calibration Sheet

- Calibration Standards

  - pH 7

  - pH 4 (if low value expected)

  - pH 10

  - Conductivity 718µS or 1413µS

- Waste bottle

- Calibration Cup

- Barometric Pressure

- Data Sheet

- Pen/pencil

Turbidity:

- Secchi Disk

- Turbidity Tube

Shipping:

- Shipping labels

- Ice

- Cooler

- Shipping Address/FedEx Form

Sample collection:

- Sample Kit (provided, check project specific SAP to ensure completion)

  - Lab Sheet

  - Sample Bottles

- Sharpie

- DI Water

- Cooler

- Ice

As needed:

  - Dip sampler

  - Collection device

  - Filtering equipment

  - 0.45µm Membrane Filters

  - Glass filter (0.7 µm)

  - Filter apparatus

  - Pump (Hand pump/Geo Pump)

  - Forceps

IDEXX Collection:

- Sterile Sample bottles

  - Lake/Reservoir 3 per site

  - Streams/Rivers usu 1 per site

- Deionized water

- Thermometer

- Cooler

- Ice

- Data sheet

IDEXX Analysis:

- Collected Sample

- Gloves

- Quanti-Tray

- Colilert Reagent

- Incubator

- Sealer

- UV  light

- Comparators

- MPN Table

- Marker

Macroinvertebrate Collection:

- D-net

- Sketch Paper

- Sample collection form

- Collection bottle

- Tape measure

- Waders

Stream Flow:

- Flow Meter

- Tape Measure (in 10ths of feet)

- Data sheet